DEMOLITION PROCEDURES

1-Contact the Price City Building Department to obtain an application for demolition. (435) 637-5010

2-Secure the area and make it a safe site. Make sure to disconnect all utilities. Coordinate utility disconnections with Price City.

3-Utah State and Federal regulations require that buildings undergoing demolition or renovation be inspected for asbestos. This inspection must be performed by a State Certified Asbestos Inspector prior to commencing work. Contact the Utah Division of Air Quality at: (801) 536-4000

4-Identify, handle and remove all hazardous and toxic materials.   If you believe there may be harmful materials, call the Southeastern Utah Health District at (435)637-3671.

5-Remove selected structures, including foundation.

6-Back fill and compact the excavation, apply dust control and grade the site smooth.

7-Prevent drainage from flooding to adjacent properties or ponding on the site.

8-Direct any run off to the nearest existing drainage way.

DEMOLITION FEES

500 square feet or less	$10.00

501 square feet or more	$20.00

Add 1% Utah State Surcharge